## Slide 1: Couple enzymatic system of luminous bacteria for bacterial contamination assay
M.A. Kirillova, E.N.Esimbekova
Siberian Federal University, Krasnoyarsk, Russia,
E-mail: kirillva@mail.ru
Problem: Microbial pollution is index of sanitary quality of food, water and surface cleanness.
The aim of the work was to develop a method for the analysis of microbial contamination using the bioluminescent system of luminous bacteria based on the determination of FMN in the sample.
Analyzed samples:
Escherichia Coli (BL21 codon Plus (DE3) RIPL) was grown in Photobiology laboratory of Institute of Biophysics on LB medium without antibiotics during 18 hours under 30ºС.
Sample №1- intact cells
Sample №2 - cells, destructed by ultrasound under 44 кHz
Sample №3 - supernatant after destructed cells centrifugation (5000 promptness per second, 12 minutes)
hv
Chart: [FMN]*10^7, M
| 1.2048192771084314E-2 | 0.12048192771084337 | 0.24096385542168691 | 0.60240963855422025 | 1.2048192771084267
 | 10345.6667 | 23182.5 | 40494 | 76827 | 122282
Fig 2. Calibration curve for determination FMN
Chart: cells, million / ml
| 38.554216867469876 | 19.277108433734927 | 12.851405622490002 | 7.7108433734939794 | 3.8554216867469879
 | 258295.8 | 110576 | 46512.75 | 17495.5 | 5962
Fig 3. Dependence luminescence intensity from bacterial cells number (sample №2)
Chart: cells, million / ml
| 19.277108433734927 | 12.851405622490002 | 7.7108433734939794 | 3.8554216867469879
надосадочная жидкость | 88733 | 54753.6667 | 20542 | 4455.3333
Fig 4. Dependence luminescence intensity from bacterial cells number (sample №3)
Results: The maximum sensitivity of the couple enzymatic system of luminous bacteria to FMN was 1.2 nM. The maximum sensitivity of the bioluminescent system was about 3.9 and 5 million bacterial cells for samples №2 and №3. The sensitivity of the couple enzymatic system of luminous bacteria to bacterial contamination is 3 times lower than that of the firefly bioluminescence system.
Fig 1. The scheme of the analysis
NADH:FMN-oxidoreductase (R)
NAD(P)H + H+ + FMN  NAD(P)+ + FMNH2
Luciferase (L)
FMNH2 + RCHO + O2  FMN + RCOOH + H2О + h
The work was financially supported by the Government of the Russian Federation (Contract No 11. G34.31.058), the Federal Agency for Science and Innovations (Contract No 02.740.11.0766), the Russian Academy of Sciences (Program “Molecular and Cell Biology”, grant No 6.2), and the President of the Russian Federation (Grant “Leading Scientific School” 3951.2012.4).